## 2024
2024 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) |  |  |  | GEOMETRIC MEAN* per sampled location (CFU/100 ml) |  |  |  | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | Date Sampled | CL-1 | CL-2 | CL-3 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM
week 1 | 20.1 | 7.4 | 8.6 | 2024-05-28 |  |  |  | week 1
week 2 | 78.5 | 75.9 | 365 | 2024-06-04 |  |  |  | week 2 | 37.5021 | 6
week 3 | 2 | 4.1 | 2 | 2024-06-11 |  |  |  | week 3 | 15.2881 | 9
week 4 | 109 | 53 | 63.7 | 2024-06-17 |  |  |  | week 4 | 22.4949 | 12
week 5 | 30.5 | 16.9 | 14.6 | 2024-06-24 | 25.3609 | 18.3183 | 22.556 | week 5 | 26.0747 | 15
week 6 | 24.6 | 14.5 | 20.3 | 2024-07-02 | 26.4066 | 20.9561 | 26.7832 | week 6 | 16.2088 | 15
week 7 | 9.6 | 8.6 | 13.2 | 2024-07-08 | 17.3457 | 13.557 | 13.7885 | week 7 | 22.9947 | 15
week 8 | 118 | 126 | 1990 | 2024-07-15 | 39.2069 | 26.8955 | 54.8382 | week 8 | 33.1435 | 15
week 9 | 23.1 | 24.9 | 128 | 2024-07-16 | 28.7475 | 23.1241 | 63.0518 | week 9 | 40.0811 | 15
week 10 | 47.1 | 29.2 | 40.8 | 2024-07-22 | 31.2131 | 24.0409 | 58.6396 | week 10 | 35.3042 | 15
week 11 | 20.9 | 19.7 | 111 | 2024-07-29 | 29.3074 | 24.6631 | 82.2279 | week 11 | 39.0255 | 15
week 12 | 21.1 | 20.1 | 48.8 | 2024-08-05 | 28.5673 | 26.0427 | 95.1714 | week 12 | 41.3702 | 15
week 13 | 7.4 | 9.8 | 32.3 | 2024-08-12 | 27.3545 | 26.6158 | 110.4786 | week 13 | 43.1667 | 15
week 14 | 35 | 27.2 | 27.9 | 2024-08-19 | 22.1896 | 19.8503 | 45.6922 | week 14 | 27.2011 | 15
week 15 | 192 | 199 | 291 | 2024-08-26 | 29.3904 | 29.1382 | 67.6844 | week 15 | 38.7007 | 15
week 16 |  |  |  |  | 32.0052 | 32.1337 | 59.8108 | week 16 | 39.4749 | 15
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead |  |  |  | * GM based on samples take within last 5 weeks (30 day span) |  |  |  | * GM based on samples take within last 5 weeks (30 day span)
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing:
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
· Notify Jill Culver & Dean Mulso in Recreation
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
· Post notice on website
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2023
2023 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) |  |  |  | GEOMETRIC MEAN* per sampled location (CFU/100 ml) |  |  |  | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | Date Sampled | CL-1 | CL-2 | CL-3 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM
week 1 | 26.9 | 35.9 | 83.6 | 2023-05-30 |  |  |  | week 1
week 2 | 10.9 | 10.9 | 13.4 | 2023-06-05 |  |  |  | week 2 | 22.4648 | 6
week 3 | 3.1 | 13.4 | 17.1 | 2023-06-12 |  |  |  | week 3 | 16.5132 | 9
week 4 | 25.9 | 64.5 | 24.6 | 2023-06-20 |  |  |  | week 4 | 19.8543 | 12
week 5 | 2 | 8.6 | 12 | 2023-06-26 | 8.6015 | 19.6217 | 22.4122 | week 5 | 12.0733 | 15
week 6 | 1 | 3.1 | 4.1 | 2023-07-05 | 4.4527 | 12.0224 | 12.2631 | week 6 | 8.0725 | 15
week 7 | 11 | 9.8 | 5.1 | 2023-07-11 | 4.4608 | 11.7693 | 10.1087 | week 7 | 7.902 | 15
week 8 | 2 | 2 | 13.4 | 2023-07-17 | 4.0865 | 8.0452 | 9.6275 | week 8 | 4.5431 | 15
week 9 | 5.2 | 5.2 | 1 | 2023-07-24 | 2.9641 | 4.8621 | 5.0737 | week 9 | 3.8352 | 15
week 10 | 8.6 | 5.2 | 5.2 | 2023-07-31 | 3.5399 | 4.9169 | 5.0946 | week 10 | 4.4593 | 15
week 11 | 8.5 | 27.5 | 132 | 2023-08-07 | 4.5053 | 5.968 | 7.5975 | week 11 | 5.8894 | 15
week 12 | 86 | 65 | 81.3 | 2023-08-14 | 9.4654 | 9.9103 | 12.4994 | week 12 | 10.5448 | 15
week 13 | 6.3 | 4.1 | 3.1 | 2023-08-21 | 8.6258 | 8.5706 | 11.5042 | week 13 | 9.4745 | 15
week 14 | 105 | 64.4 | 55.6 | 2023-08-28 | 21.076 | 18.9664 | 24.9242 | week 14 | 21.5178 | 15
week 15 |  |  |  |  | 26.3701 | 26.2107 | 36.8787 | week 15 | 29.4299 | 15
week 16 |  |  |  |  | 38.46 | 25.7945 | 24.1088 | week 16 | 28.8118 | 15
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead |  |  |  | * GM based on samples take within last 5 weeks (30 day span) |  |  |  | * GM based on samples take within last 5 weeks (30 day span)
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing:
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
· Notify Jill Culver & Dean Mulso in Recreation
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
· Post notice on website
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2022
2022 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) |  |  |  | GEOMETRIC MEAN* per sampled location (CFU/100 ml) |  |  |  | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | Date Sampled | CL-1 | CL-2 | CL-3 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM
week 1 | 920.8 | 770.1 | 9.8 | 2022-05-31 |  |  |  | week 1
week 2 | 48.7 | 27.5 | 8.6 | 2022-06-06 |  |  |  | week 2 | 65.6472 | 6
week 3 | 142.1 | 52 | 49.6 | 2022-06-13 |  |  |  | week 3 | 67.563 | 9
week 4 | 42.6 | 1 | 4.1 | 2022-06-21 |  |  |  | week 4 | 36.2352 | 12
week 5 | 1 | 12.2 | 13.5 | 2022-06-27 | 48.6116 | 26.647 | 11.8267 | week 5 | 14.9174 | 15
week 6 | 43.5 | 18.5 | 9.6 | 2022-07-05 | 26.4 | 12.6408 | 11.7781 | week 6 | 14.4292 | 15
week 7 | 114 | 138 | 161 | 2022-07-11 | 31.2953 | 17.4535 | 21.1612 | week 7 | 16.9513 | 15
week 8 | 30.9 | 24.3 | 36.9 | 2022-07-18 | 23.0649 | 14.9901 | 19.9457 | week 8 | 25.8564 | 15
week 9 | 20.1 | 4.1 | 5.2 | 2022-07-25 | 19.8477 | 19.8774 | 20.9166 | week 9 | 28.0012 | 15
week 10 | 131 | 19.9 | 24.6 | 2022-08-01 | 27.1834 | 19.8812 | 21.4898 | week 10 | 22.6461 | 15
week 11 | 192 | 79.8 | 81.3 | 2022-08-08 | 65.291 | 27.1883 | 28.9863 | week 11 | 37.1943 | 15
week 12 | 88.2 | 23.3 | 50.4 | 2022-08-15 | 73.4542 | 28.254 | 38.2137 | week 12 | 42.964 | 15
week 13 | 16 | 28.8 | 15.8 | 2022-08-22 | 52.9524 | 21.7603 | 25.9532 | week 13 | 31.0395 | 15
week 14 | 37.3 | 28.1 | 58.3 | 2022-08-29 | 66.7381 | 31.2797 | 39.2244 | week 14 | 43.4241 | 15
week 15 |  |  |  |  | 56.3832 | 35.0239 | 44.077 | week 15 | 44.3175 | 15
week 16 |  |  |  |  | 37.4771 | 26.6165 | 35.9406 | week 16 | 32.9737 | 15
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead |  |  |  | * GM based on samples take within last 5 weeks (30 day span) |  |  |  | * GM based on samples take within last 5 weeks (30 day span)
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing:
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
· Notify Jill Culver & Dean Mulso in Recreation
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
· Post notice on website
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2021
2021 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) |  |  |  | GEOMETRIC MEAN* per sampled location (CFU/100 ml) |  |  |  | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | Date Sampled | CL-1 | CL-2 | CL-3 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM
week 1 | 27.9 | 1 | 5.2 | 2021-06-01 |  |  |  | week 1
week 2 | 33.6 | 7.3 | 5.2 | 2021-06-07 |  |  |  | week 2 | 7.5488 | 6
week 3 | 24.9 | 26.9 | 209.8 | 2021-06-14 |  |  |  | week 3 | 14.3624 | 9
week 4 | 18.3 | 19.7 | 13.5 | 2021-06-21 |  |  |  | week 4 | 14.9689 | 12
week 5 | 63.7 | 39.5 | 13.1 | 2021-06-28 | 30.6865 | 10.885 | 15.8593 | week 6 | 23.5265 | 15
week 6 | 365.4 | 1046.2 | 461.1 | 2021-07-06 | 51.331 | 43.7271 | 38.8903 | week 7 | 63.086 | 15
week 8 | 28.2 | 9.7 | 10.9 | 2021-07-12 | 49.5634 | 46.285 | 45.0948 | week 8 | 45.7605 | 15
week 9 | 93.3 | 1299.7 | 101.9 | 2021-07-19 | 64.5503 | 100.5214 | 39.0301 | week 9 | 87.945 | 15
week 9 retest | 54.8 | 47.3 | 42 | 2021-07-22 | 80.3829 | 119.7671 | 48.976
week 10 | 21.6 | 51.2 | 22.8 | 2021-07-26 | 64.5722 | 103.9504 | 43.1163 | week 10 | 66.1461 | 15
week 11 | 7.5 | 30.5 | 57.6 | 2021-08-02 | 45.2063 | 99.5658 | 55.1866 | week 11 | 62.861 | 15
week 12 | 65.7 | 28.8 | 48 | 2021-08-09 | 33.9624 | 54.7108 | 37.8508 | week 12 | 41.2777 | 15
week 13 | 7.5 | 44.3 | 185 | 2021-08-16 | 27.2354 | 70.4712 | 60.6781 | week 13 | 48.8344 | 15
week 14 | 14.6 | 10.9 | 27.5 | 2021-08-23 | 16.3418 | 29.3331 | 50.2598 | week 14 | 28.8819 | 15
week 15 | 25.6 | 24.3 | 38.9 | 2021-08-30 | 16.9066 | 25.2712 | 55.9273 | week 15 | 28.8028 | 15
week 16 |  |  |  |  | 20.716 | 24.1106 | 55.5167 | week 16 | 30.2676 | 15
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead |  |  |  | * GM based on samples take within last 5 weeks (30 day span) |  |  |  | * GM based on samples take within last 5 weeks (30 day span)
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing:
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
· Notify Jill Culver & Dean Mulso in Recreation
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
· Post notice on website
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2020
2020 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) |  |  |  | GEOMETRIC MEAN* per sampled location (CFU/100 ml) |  |  |  | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | Date Sampled | CL-1 | CL-2 | CL-3 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM
week 1 | 31.5 | 59.8 | 30.5 | 2020-05-26 |  |  |  | week 1
week 2 | 2 | 3 | 5.2 | 2020-06-01 |  |  |  | week 2 | 11.0216 | 6
week 3 | 13.2 | 13.4 | 9.7 | 2020-06-08 |  |  |  | week 3 | 11.3296 | 9
week 4 | 21.1 | 16.9 | 60.9 | 2020-06-15 |  |  |  | week 4 | 14.1925 | 12
week 5 | 62.4 | 30.9 | 49.6 | 2020-06-22 | 16.139 | 16.5865 | 21.5494 | week 6 | 14.8082 | 15
week 6 | 167 | 186 | 167 | 2020-06-29 | 22.5298 | 20.8121 | 30.2774 | week 7 | 40.3243 | 15
week 8 | 47.9 | 32.7 | 15.5 | 2020-07-06 | 42.5225 | 33.5585 | 37.669 | week 8 | 50.288 | 15
week 9 | 9.7 | 9.5 | 9.8 | 2020-07-13 | 39.9814 | 31.3275 | 37.7463 | week 9 | 38.5812 | 15
week 10 | 8.6 | 6.3 | 6.2 | 2020-07-20 | 33.4119 | 25.7168 | 23.9017 | week 10 | 27.3852 | 15
week 11 | 19.9 | 21.8 | 20.1 | 2020-07-27 | 26.5849 | 23.9837 | 19.9514 | week 11 | 23.344 | 15
week 12 | 35.9 | 44.8 | 12.2 | 2020-08-03 | 19.5484 | 18.0414 | 11.8223 | week 12 | 16.0951 | 15
week 13 | 72.8 | 60.2 | 98.8 | 2020-08-10 | 21.2554 | 20.3835 | 17.1232 | week 13 | 19.5035 | 15
week 14 | 6.3 | 5.2 | 7.3 | 2020-08-17 | 19.4977 | 18.069 | 16.1438 | week 14 | 17.8501 | 15
week 15 | 410.6 | 517.2 | 866.4 | 2020-08-24 | 42.2443 | 43.6313 | 43.3582 | week 15 | 43.0737 | 15
week 16 | 86 | 172.3 | 435.2 | 2020-08-31 | 56.6105 | 65.9727 | 80.1991 | week 16 | 66.9078 | 15
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead |  |  |  | * GM based on samples take within last 5 weeks (30 day span) |  |  |  | * GM based on samples take within last 5 weeks (30 day span)
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing:
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
|  | · Notify Jill Culver & Dean Mulso in Recreation |  |  | *Bloomington lab only accepts samples Monday-Thursday, 7 a.m.-1p.m.
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
· Post notice on website
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
Table for website
Test Results (MPN/100mL)
| DATE | Sample 1 | Sample 2 | Sample 2 | Sample 3
|  |  |  | n/a | n/a
|  |  |  | n/a | n/a
|  |  |  | n/a | n/a
|  |  |  | n/a | n/a
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2019
2019 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) |  |  |  | GEOMETRIC MEAN* per sampled location (CFU/100 ml) |  |  |  | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | Date Sampled | CL-1 | CL-2 | CL-3 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM
week 1 | 85.7 | 44.1 | 37.3 | 2019-05-28 |  |  |  | week 1
week 2 | 3.1 | 3 | 4.1 | 2019-06-03 |  |  |  | week 2 | 13.2353 | 6
week 3 | 7.3 | 7.3 | 7.4 | 2019-06-10 |  |  |  | week 3 | 10.8706 | 9
week 4 | 50.4 | 46.5 | 39.3 | 2019-06-17 |  |  |  | week 4 | 15.5195 | 12
week 5 | 166.4 | 240 | 118.7 | 2019-06-24 | 27.6853 | 25.4982 | 22.1062 | week 6 | 20.8019 | 15
week 6 | 648.8 | 980.4 | 727 | 2019-07-01 | 41.5027 | 47.4135 | 40.0386 | week 7 | 80.9875 | 15 | Rained 3" the previous night
week 8 | 5.2 | 7.4 | 9.8 | 2019-07-08 | 46.0261 | 56.7969 | 47.6614 | week 8 | 80.6864 | 15
week 9 | 58.1 | 47.1 | 111.9 | 2019-07-15 | 69.6907 | 82.4639 | 82.0515 | week 9 | 89.1824 | 15
week 10 | 16 | 13.4 | 3.1 | 2019-07-22 | 55.4004 | 64.2975 | 49.372 | week 10 | 56.0268 | 15
week 11 | 7.4 | 11.9 | 8.6 | 2019-07-29 | 29.7254 | 35.2583 | 29.2072 | week 11 | 31.2819 | 15
week 12 | 22.1 | 172.2 | 24.3 | 2019-08-05 | 15.1211 | 24.8993 | 14.8015 | week 12 | 17.7293 | 15
week 13 | 20.1 | 28.8 | 19.1 | 2019-08-12 | 19.8163 | 32.6753 | 16.9148 | week 13 | 22.2077 | 15
week 14 | 14.6 | 8.4 | 5.2 | 2019-08-19 | 15.0334 | 23.1458 | 9.1559 | week 14 | 14.7144 | 15
week 15 | 10.9 | 6.3 | 24.6 | 2019-08-26 | 13.9226 | 19.903 | 13.8553 | week 15 | 15.6585 | 15
week 16 | 113.7 | 260.3 | 228.2 | 2019-09-03 | 24.045 | 36.8896 | 26.6919 | week 16 | 28.7146 | 15 | Rained night before. Lake was pretty windy on day of sampling.
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead |  |  |  | * GM based on samples take within last 5 weeks (30 day span) |  |  |  | * GM based on samples take within last 5 weeks (30 day span)
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing:
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
|  | · Notify Jill Culver & Dean Mulso in Recreation |  |  | *Bloomington lab only accepts samples Monday-Thursday, 7 a.m.-1p.m.
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
· Post notice on website
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
Table for website
Test Results (MPN/100mL)
| DATE | Sample 1 | Sample 2 | Sample 2 | Sample 3
|  |  |  | n/a | n/a
|  |  |  | n/a | n/a
|  |  |  | n/a | n/a
|  |  |  | n/a | n/a
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2018
2018 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 8.4 | 9.7 | 10.9 | 17.1 | 6.3 | 2018-05-29 | [5 empty] | week 1
week 2 | 1 | 2 | 4 | 3.1 | 6.3 | 2018-06-04 | 2.8983 | 4.4045 | 6.603 | 7.2808 | 6.3 | week 2 | 4.3846 | 6 | 6.7727 | 4
week 3 | 46.5 | 39.9 | 43.9 | 24.9 | 12.2 | 2018-06-11 | 7.3099 | 9.1817 | 12.4161 | 10.9695 | 7.8526 | week 3 | 9.4104 | 9 | 9.2811 | 6
week 4 | 225 | 194 | 73.8 | 75.9 | 73.3 | 2018-06-20 | 17.2178 | 19.6854 | 19.3866 | 17.791 | 13.7258 | week 4 | 18.7302 | 12 | 15.6267 | 8
week 5 | 27.9 | 38.3 | 42.6 | 20.1 | 36.4 | 2018-06-25 | 23.2439 | 27.7492 | 27.2582 | 18.5246 | 21.2802 | week 6 | 26.0028 | 15 | 19.8547 | 10
week 6 | 48.8 | 10.9 | 23.1 | 76.7 | 23.8 | 2018-07-02 | 61.4349 | 42.3984 | 42.2557 | 41.315 | 29.6678 | week 7 | 47.9237 | 15 | 35.0104 | 10
week 8 | 16.1 | 12.1 | 18.7 | 27.2 | 37.9 | 2018-07-09 | 47.1257 | 31.4632 | 34.1374 | 38.0015 | 31.157 | week 8 | 36.9911 | 15 | 40.7876 | 10
week 9 | 34.5 | 28.2 | 18.9 | 40.8 | 24.3 | 2018-07-16 | 29.4895 | 19.4274 | 24.2846 | 41.9462 | 35.7607 | week 9 | 24.0513 | 15 | 32.8771 | 10
week 10 | 5.2 | 7.5 | 8.5 | 11 | 10.8 | 2018-07-23 | 20.8418 | 16.06 | 19.6856 | 28.5051 | 24.382 | week 10 | 18.7475 | 15 | 26.3631 | 10
week 11 | 9 | 3 | 5 | 276 | 222 | 2018-07-30 | 16.6212 | 9.65 | 12.8251 | 48.1355 | 35.0042 | week 11 | 12.718 | 15 | 41.0481 | 10
week 12 | 25.9 | 13.4 | 6.3 | 51.2 | 727 | 2018-08-06 | 14.6433 | 10.0569 | 9.8902 | 44.3977 | 69.3604 | week 12 | 11.3354 | 15 | 55.4927 | 10
week 13 | 17.5 | 14.4 | 24.3 | 38.4 | 214 | 2018-08-13 | 14.8895 | 10.4131 | 10.4222 | 47.5678 | 98.0542 | week 13 | 11.7347 | 15 | 68.2951 | 10
week 14 | 9.7 | 14.8 | 10.8 | 517 | 205 | 2018-08-20 | 11.5524 | 9.1534 | 9.3186 | 79.0458 | 150.2089 | week 14 | 9.951 | 15 | 108.9651 | 10
week 15 | 35 | 28.8 | 30.5 | 109 | 172 | 2018-08-27 | 16.9155 | 11.9798 | 12.0317 | 125.0505 | 261.2863 | week 15 | 13.4592 | 15 | 180.7595 | 10
week 16 | [6 empty] | 19.8059 | 16.9348 | 14.9854 | 102.5958 | 272.1496 | week 16 | 17.1296 | 15 | 167.097 | 10
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead | [5 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
*No AL-1 & AL-2 samples 8/28/17
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing: |  |  |  | http://www.ci.burnsville.mn.us/index.aspx?nid=372
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
|  | · Notify Jill Culver & Dean Mulso in Recreation |  |  |  |  | *Bloomington lab only accepts samples Monday-Thursday, 7 a.m.-1p.m.
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
| Dog park pond: | · Post caution signs on both entrance gates; continue w/ regular weekly testing; remove caution signs when levels drop
· Notify Garrett Beck
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
Table for website
|  | Test Results (MPN/100mL) |  |  | Geometric Mean of Last 5 Results
| DATE | Sample 1 | Sample 2 | Sample 3 | Sample 1 | Sample 2 | Sample 3
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2017
2017 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 42 | 41 | 56.5 | 42.8 | 7.5 | 2017-05-30 | [5 empty] | week 1
week 2 | 20 | 5 | 12 | 23 | 105 | 2017-06-05 | 28.9828 | 14.3178 | 26.0384 | 31.3751 | 28.0624 | week 2 | 22.1077 | 6 | 29.6726 | 4
week 3 | 103 | 105 | 17.1 | 727 | 1300 | 2017-06-12 | 44.2288 | 27.8173 | 22.633 | 89.4476 | 100.7855 | week 3 | 30.3101 | 9 | 94.9475 | 6
week 4 | 78.4 | 109 | 69.1 | 68.4 | 39.9 | 2017-06-19 | 51.0338 | 39.1374 | 29.9175 | 83.6451 | 79.9451 | week 4 | 39.0954 | 12 | 81.7742 | 8
week 5 | 6 | 12 | 2 | 30 | 35 | 2017-06-26 | 31.375 | 28.7867 | 12.9769 | 76.535 | 117.5015 | week 6 | 22.7151 | 15 | 94.8313 | 10
week 6 | 59.1 | 55.4 | 67.7 | 225 | 435 | 2017-07-05 | 41.1361 | 52.5202 | 19.9997 | 135.3548 | 167.6364 | week 7 | 35.0906 | 15 | 150.6333 | 10
week 8 | 35.5 | 308 | 32.8 | 23.1 | 23.1 | 2017-07-10 | 31.5189 | 68.7333 | 23.5365 | 95.0389 | 112.7761 | week 8 | 37.0817 | 15 | 59.1411 | 10
week 9 | 10.8 | 21.8 | 14.6 | 71.7 | 109 | 2017-07-17 | 19.2021 | 45.9647 | 15.9574 | 59.7996 | 68.6932 | week 9 | 24.1497 | 15 | 67.4534 | 10
week 10 | 17.1 | 14.4 | 9.7 | 150 | 61.3 | 2017-07-24 | 18.7619 | 36.4428 | 14.4452 | 69.9689 | 74.8534 | week 10 | 21.4555 | 15 | 72.3699 | 10
week 11 | 4.1 | 7.5 | 1 | 21.6 | 42.6 | 2017-07-31 | 17.3862 | 33.1733 | 12.5753 | 65.5197 | 77.8538 | week 11 | 19.3569 | 15 | 71.421 | 10
week 12 | 1 | 8.5 | 0.05 | 120 | 154 | 2017-08-07 | 7.6893 | 22.8018 | 2.973 | 57.7792 | 63.2537 | week 12 | 8.0479 | 15 | 60.4545 | 10
week 13 | 22.8 | 14.6 | 15.6 | 14.8 | 99 | 2017-08-15 | 7.0377 | 12.3917 | 2.5624 | 52.8569 | 84.6234 | week 13 | 6.0683 | 15 | 66.88 | 10
week 14 | 60.2 | 38.9 | 38.8 | 24.1 | 33.6 | 2017-08-22 | 9.9234 | 13.9133 | 3.1156 | 42.5012 | 66.8764 | week 14 | 7.5488 | 15 | 53.3135 | 10
week 15 | 9.7 | 8.6 | 12.2 |  |  | 8/28/2017* | 8.8597 | 12.5504 | 3.2618 | 31.0083 | 68.3481 | week 15 | 7.1314 | 15 | 46.0365 | 10
week 16 | [6 empty] | 10.7418 | 14.2743 | 4.3835 | 34.98 | 80.0138 | week 16 | 8.7596 | 15 | 52.9045 | 10
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead | [5 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
*No AL-1 & AL-2 samples 8/28/17
Actions based on E. coli testing results
1.) | Post testing results on COB webpage for beach testing: |  |  |  | http://www.ci.burnsville.mn.us/index.aspx?nid=372
2a.) | If all samples are below 1,260 organisms/100 ml, the criteria have been met. Continue with regular weekly testing.
2b.) | If one sample is above 1,260 organisms/100 ml OR the combined/individual geometric means are above 126 organisms/100 ml
do the following for the appropriate waterbody:
| Crystal beach: | · Post warning signs at the beach & collect new samples for testing (immediately or, if rainy, no later than Thursday*)
|  | · Notify Jill Culver & Dean Mulso in Recreation |  |  |  |  | *Bloomington lab only accepts samples Monday-Thursday, 7 a.m.-1p.m.
· Ask Communications to post notification via news realease/social media for both when levels go high & when they come down
| Dog park pond: | · Post caution signs on both entrance gates; continue w/ regular weekly testing; remove caution signs when levels drop
· Notify Garrett Beck
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
Table for website
|  | Test Results (MPN/100mL) |  |  | Geometric Mean of Last 5 Results
| DATE | Sample 1 | Sample 2 | Sample 3 | Sample 1 | Sample 2 | Sample 3
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2016
2016 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 24.6 | 21.3 | 87.8 | 13.4 | 71.2 | 2016-06-01 | [5 empty] | week 1
week 2 | 16 | 13.5 | 22.8 | 131.4 | 178.2 | 2016-06-06 | 19.8394 | 16.9573 | 44.7419 | 41.9614 | 112.6403 | week 2 | 24.6907 | 6 | 68.7499 | 4
week 3 | 28.5 | 27.5 | 62 | 95.9 | 143.9 | 2016-06-13 | 22.3855 | 19.9227 | 49.8816 | 55.2721 | 122.222 | week 3 | 28.1245 | 9 | 82.1917 | 6
week 4 | 121.1 | 86 | 80.9 | 135.4 | 55.7 | 2016-06-20 | 34.1398 | 28.7168 | 56.2914 | 69.1488 | 100.4213 | week 4 | 38.0727 | 12 | 83.3307 | 8
week 5 | 49.5 | 35.9 | 62 | 22.8 | 31.8 | 2016-06-27 | 40.661 | 32.7201 | 51.602 | 78.9754 | 82.0942 | week 6 | 40.9468 | 15 | 80.5197 | 10
week 6 | 34 | 29 | 24 | 18 | 44 | 2016-07-05 | 49.0929 | 39.6124 | 52.268 | 48.0464 | 57.8694 | week 7 | 46.669 | 15 | 52.7297 | 10
week 8 | 152 | 91 | 74 | 46 | 517 | 2016-07-11 | 74.605 | 53.4267 | 54.6318 | 47.63 | 89.6721 | week 8 | 60.1622 | 15 | 56.4418 | 10
week 9 | 21.1 | 48.9 | 16 | 88 | 121.1 | 2016-07-18 | 48.2006 | 46.3939 | 36.4325 | 46.818 | 86.6311 | week 9 | 43.3512 | 15 | 58.9346 | 10
week 10 | 81.3 | 59.1 | 65 | 290.9 | 344.8 | 2016-07-25 | 53.5131 | 48.6952 | 40.9047 | 54.5555 | 124.743 | week 10 | 47.414 | 15 | 82.4949 | 10
week 11 | 44.1 | 32.3 | 60.2 | 111.2 | 325.5 | 2016-08-01 | 52.291 | 47.6769 | 40.6644 | 74.8984 | 198.6283 | week 11 | 46.6283 | 15 | 121.971 | 10
week 12 | 44.1 | 42.6 | 65 | 113 | 193.5 | 2016-08-08 | 55.0831 | 51.4885 | 49.6312 | 108.1517 | 267.1079 | week 12 | 52.0189 | 15 | 169.9652 | 10
week 13 | 13.5 | 13.4 | 31.8 | 248.1 | 579.4 | 2016-08-15 | 33.9404 | 35.1013 | 41.9174 | 151.4981 | 273.2652 | week 13 | 36.8251 | 15 | 203.4679 | 10
week 14 | 79.4 | 81.6 | 155.3 | 435.2 | 88.2 | 2016-08-22 | 44.2409 | 38.8865 | 66.0396 | 208.5684 | 256.4775 | week 14 | 48.4331 | 15 | 231.2858 | 10
week 15 | 39.9 | 55.2 | 14.6 | 648.8 | 307.6 | 2016-08-29 | 38.3708 | 38.3592 | 48.9883 | 244.8623 | 250.6877 | week 15 | 41.6218 | 15 | 247.7579 | 10
week 16 | [6 empty] | 37.0588 | 40.0439 | 46.5282 | 298.2814 | 234.8435 | week 16 | 41.0249 | 15 | 264.6686 | 10
| NOTE: Geometric mean cannot be calculated using SSR of "0" so use "0.05" instead | [5 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
COB website on beach testing: http://www.ci.burnsville.mn.us/index.aspx?nid=372
General guidelines for Crystal Beach
All samples below 1,260 organisms/100 ml: follow regular weekly testing schedule
One sample above 1,260 organisms/100 ml: perform additional weekly test(s)
Combined or individual geometric mean above 126 organisms/100 ml: perform additional weekly test(s)
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
Table for website
|  | Test Results (MPN/100mL) |  |  | Geometric Mean of Last 5 Results
| DATE | Sample 1 | Sample 2 | Sample 3 | Sample 1 | Sample 2 | Sample 3
| 2016-06-01 |  |  |  | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
[5 empty] | n/a | n/a | n/a
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2015
2015 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 8.6 | 18.9 | 13.4 | 77.1 | 83.6 | 2015-05-27 | [5 empty] | week 1
week 2 | 1 | 2 | 8.6 | 6.3 | 7.5 | 2015-06-01 | 2.9326 | 6.1482 | 10.735 | 22.0393 | 25.04 | week 2 | 5.7845 | 6 | 23.4918 | 4
week 3 | 43.5 | 41.4 | 53.8 | 613.1 | 150 | 2015-06-08 | 7.2055 | 11.61 | 18.3708 | 66.7793 | 45.4764 | week 3 | 11.54 | 9 | 55.1079 | 6
week 4 | 17.3 | 20.1 | 30.5 | 107.6 | 58.1 | 2015-06-15 | 8.9693 | 13.3175 | 20.8531 | 75.2375 | 48.3486 | week 4 | 13.5556 | 12 | 60.3128 | 8
week 5 | 63.1 | 40.4 | 39.3 | 1046.2 | 1553.1 | 2015-06-23 | 14.7619 | 16.1028 | 27.2894 | 144.4025 | 100.3765 | week 6 | 18.65 | 15 | 120.3936 | 10
week 6 | 20.3 | 20.1 | 38.4 | 1413.6 | 1299.7 | 2015-06-29 | 31.334 | 28.671 | 39.669 | 558.8834 | 364.1896 | week 7 | 32.9081 | 15 | 451.1535 | 10
week 8 | 62 | 47 | 44 | 365 | 411 | 2015-07-07 | 34.2366 | 29.595 | 37.7241 | 513.2341 | 373.1044 | week 8 | 33.6855 | 15 | 479.6101 | 10
week 9 | 298.7 | 161.6 | 60.5 | 461.1 | 1119.9 | 2015-07-13 | 69.7892 | 49.8344 | 44.7696 | 484.8064 | 557.7607 | week 9 | 53.7981 | 15 | 832.7442 | 10
week 10 | 50.4 | 33.1 | 23.1 | 56.3 | 6.3 | 2015-07-20 | 65.3908 | 45.9186 | 39.2201 | 425.8999 | 357.6686 | week 10 | 49.016 | 15 | 390.2961 | 10
week 11 | 9.7 | 12 | 10.9 | 49.5 | 88.6 | 2015-07-27 | 44.964 | 36.0204 | 30.347 | 231.3692 | 201.7101 | week 11 | 36.6305 | 15 | 216.0313 | 10
week 12 | 33.6 | 47.3 | 42.6 | 11 | 12.2 | 2015-08-03 | 49.7317 | 42.7447 | 30.9836 | 87.603 | 79.2923 | week 12 | 40.3846 | 15 | 83.3441 | 10
week 13 | 12.1 | 13.5 | 12 | 579.4 | 547.5 | 2015-08-10 | 35.8684 | 33.3065 | 23.8933 | 96.0851 | 83.973 | week 13 | 30.5614 | 15 | 89.8251 | 10
week 14 | 50.4 | 49.5 | 31.3 | 2419.6 | 2419.6 | 2015-08-17 | 25.1276 | 26.2883 | 20.9428 | 133.8584 | 97.9608 | week 14 | 24.0058 | 15 | 114.5115 | 10
week 15 | 68 | 57 | 81 | 83 | 61 | 2015-08-24 | 26.6789 | 29.307 | 26.9159 | 144.6637 | 154.2589 | week 15 | 27.6089 | 15 | 149.3843 | 10
week 16 | 22 | 16 | 8 | 649 | 140 | 2015-08-31 | 31.4266 | 31.0427 | 25.3013 | 242.0402 | 169.0398 | week 16 | 29.1161 | 15 | 202.2732 | 10
| NOTE: Geometric mean cannot be calculated using "0" so I'm using "0.05" instead | [5 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
COB website on beach testing: http://www.ci.burnsville.mn.us/index.aspx?nid=372
| E. coli testing results for 8/19/14 | [6 empty] | General guidelines for Crystal Beach
All samples below 1,260 organisms/100 ml: follow regular weekly testing schedule
|  | Crystal Lake swimming beach |  |  | Alimagnet dog park pond |  |  | One sample above 1,260 organisms/100 ml: perform additional weekly test(s)
|  | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | Combined or individual geometric mean above 126 organisms/100 ml: perform additional weekly test(s)
| Single sample results (organisms/100 mL) | 866 | 980 | 649 | 228 | 261
| Geometric mean of last 5 samples | 103.953 | 94.6017 | 72.0729 | 4.5336 | 3.4791
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
Table for website
|  | Test Results (MPN/100mL) |  |  | Geometric Mean of Last 5 Results
| DATE | Sample 1 | Sample 2 | Sample 3 | Sample 1 | Sample 2 | Sample 3
| 2015-05-27 | 8.6 | 18.9 | 13.4 | n/a | n/a | n/a
| 2015-06-01 | 1 | 2 | 8.6 | n/a | n/a | n/a
| June 8, 2015 | 43.5 | 41.4 | 53.8 | n/a | n/a | n/a
| 2015-06-15 | 17.3 | 20.1 | 30.5 | n/a | n/a | n/a
| 2015-06-23 | 63.1 | 40.4 | 39.3 | 14.8 | 16.1 | 27.3
| 2015-06-29 | 20.3 | 20.1 | 38.4 | 31.3 | 28.7 | 39.7
| 2015-07-07 | 62 | 47 | 44 | 34.2 | 29.6 | 37.7
| 2015-07-13 | 298.7 | 161.6 | 60.5 | 69.8 | 49.8 | 44.8
| 2015-07-20 | 50.4 | 33.1 | 23.1 | 65.4 | 45.9 | 39.2
| 2015-07-27 | 9.7 | 12 | 10.9 | 45 | 36 | 30.3
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2014
2014 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (MPN/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 12 | 9 | 8 | 8 | 6 | 2014-05-27 | [5 empty] | week 1
week 2 | 98 | 80 | 120 | 14 | 4 | 2014-06-03 | 34.2929 | 26.8328 | 30.9839 | 10.583 | 4.899 | week 2 | 30.5493 | 6 | 7.2004 | 4
week 3 | 30 | 115 | 79 | 110 | 30 | 2014-06-09 | 32.7977 | 43.5856 | 42.3285 | 23.096 | 8.9628 | week 3 | 39.259 | 9 | 14.3877 | 6
week 4 | 36 | 42 | 36 | 20 | 28 | 2014-06-16 | 33.5705 | 43.1837 | 40.649 | 22.2797 | 11.9158 | week 4 | 38.9143 | 12 | 16.2936 | 8
week 5 | 109 | 100 | 80 | 0.05 | 0.05 | 2014-06-23 | 58.2799 | 78.8423 | 72.2853 | 6.2644 | 3.6002 | week 6 | 69.2537 | 15 | 4.749 | 10
week 6 | 59.1 | 28.8 | 30.6 | 34.4 | 8.7 | 2014-06-30 | 51.3582 | 61.071 | 51.3671 | 7.8431 | 4.3721 | week 7 | 54.4139 | 15 | 5.8559 | 10
week 8 | 26 | 15 | 33 | 1 | 201 | 2014-07-07 | 49.5533 | 36.7015 | 41.2959 | 5.1951 | 9.4014 | week 8 | 42.1911 | 15 | 4.1274 | 10
week 9 | 36.8 | 35.5 | 38.4 | 2 | 2 | 2014-07-14 | 49.8263 | 35.1907 | 41.9676 | 2.3309 | 5.4698 | week 9 | 41.9051 | 15 | 2.2254 | 10
week 10 | 115.3 | 387.3 | 120.1 | 1 | 3 | 2014-07-22 | 58.9295 | 56.8528 | 51.7893 | 1.2803 | 3.4992 | week 10 | 55.7753 | 15 | 2.1166 | 10
week 11 | 16.1 | 5.2 | 10.9 | 2 | 0.05 | 2014-07-28 | 40.1988 | 31.474 | 34.7622 | 2.6775 | 3.4992 | week 11 | 35.2986 | 15 | 3.0609 | 10
week 12 | 14.6 | 27.5 | 21.8 | 4.2 | 4.2 | 2014-08-04 | 30.3925 | 31.1846 | 32.4829 | 1.7582 | 3.0249 | week 12 | 31.3415 | 15 | 2.3062 | 10
week 13 | 517.2 | 139.6 | 105 | 1 | 3.1 | 2014-08-11 | 55.2717 | 48.7191 | 40.9439 | 1.7582 | 1.3132 | week 13 | 47.9509 | 15 | 1.5195 | 10
week 14 | 866 | 980 | 649 | 228 | 261 | 2014-08-19 | 103.953 | 94.6017 | 72.0729 | 4.5336 | 3.4791 | week 14 | 89.1598 | 15 | 3.9715 | 10
week 15 | 32.7 | 33.2 | 28.8 | 38.4 | 93.3 | 2014-08-25 | 80.7943 | 57.8785 | 54.1679 | 9.4039 | 6.9186 | week 15 | 63.2722 | 15 | 8.0661 | 10
week 16 | xxx | xxx | xxx | xxx | xxx |  | 120.9259 | 105.7172 | 80.8762 | 13.8477 | 23.7292 | week 16 | 101.118 | 15 | 18.1272 | 10
| NOTE: Geometric mean cannot be calculated using "0" so I'm using "0.05" instead | [5 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
COB website on beach testing: http://www.ci.burnsville.mn.us/index.aspx?nid=372
| E. coli testing results for 8/19/14 | [6 empty] | All samples below 1,260 organisms/100 ml: follow regular weekly testing schedule
One sample above 1,260 organisms/100 ml: perform additional weekly test(s)
|  | Crystal Lake swimming beach |  |  | Alimagnet dog park pond |  |  | Combined or individual geometric mean above 126 organisms/100 ml: perform additional weekly test(s)
|  | CL-1 | CL-2 | CL-3 | AL-1 | AL-2
| Single sample results (organisms/100 mL) | 866 | 980 | 649 | 228 | 261
| Geometric mean of last 5 samples | 103.953 | 94.6017 | 72.0729 | 4.5336 | 3.4791
What does CFU and MPN mean?
CFU stands for 'Colony Forming Units' and refers to the number of viable bacterial cells in a sample per unit of volume. For example: 50 CFU/100 mL means 50 Colony Forming Units per 100 mL of sample. It is different from the direct microscopic counts that include both dead and living cells.
MPN stands for 'Most Probable Number' and refers to a method that uses dilution cultures and a probability calculation to determine the approximate number of viable cells in a given volume of sample. It is useful when samples contain too few organisms for agar plates to be used or when organisms will not grow on agar. For example: 50 MPN/100 mL means that the Most Probable Number of viable cells in 100 mL of sample is 50.
Table for website
|  | Sample 1 |  | Sample 2 |  | Sample 3
| DATE | Single sample | Geometric mean | Single sample | Geometric mean | Single sample | Geometric mean
Geometric mean is calculated from last five samples. Results are given in CFU/100 ml
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2013
2013 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (CFU/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 15 | 4 | 2 | 15 | 36 | 2013-06-03 | [5 empty] | week 1
week 2 | 30 | 20 | 12 | 6 | 5 | 2013-06-10 | 21.2132 | 8.9443 | 4.899 | 9.4868 | 13.4164 | week 2 | 9.7593 | 6 | 11.2818 | 4
week 3 | 8 | 4 | 0.05 | 0.05 | 0.05 | 2013-06-17 | 15.3262 | 6.8399 | 1.0627 | 1.651 | 2.0801 | week 3 | 4.8116 | 9 | 1.8531 | 6
week 4 | 9 | 3 | 5 | 15 | 1 | 2013-06-24 | 13.4164 | 5.5663 | 1.5651 | 2.8663 | 1.7321 | week 4 | 4.8893 | 12 | 2.2281 | 8
week 5 | 1 | 14 | 4 | 5 | 8 | 2013-07-01 | 6.8173 | 7.6135 | 1.8612 | 2.1779 | 1.1892 | week 6 | 4.5884 | 15 | 1.6094 | 10
week 6 | 30 | 138 | 98 | 0.05 | 10 | 2013-07-08 | 6.8173 | 12.3395 | 3.1463 | 0.65804 | 1.4142 | week 7 | 6.4206 | 15 | 0.96468 | 10
week 8 | 112 | 100 | 105 | 100 | 140 | 2013-07-15 | 13.187 | 27.5919 | 21.2991 | 1.7972 | 3.5452 | week 8 | 19.7893 | 15 | 6.7283 | 10
week 9 | 10 | 15 | 35 | 25 | 5 | 2013-07-22 | 13.5389 | 41.2596 | 34.6446 | 6.2287 | 8.9051 | week 9 | 26.8482 | 15 | 8.7702 | 10
week 10 | 0.05 | 5 | 1 | 5 | 5 | 2013-07-29 | 4.4163 | 27.0529 | 17.0494 | 5 | 12.2866 | week 10 | 12.6764 | 15 | 7.8379 | 10
week 11 | 40 | 7 | 100 | 85 | 55 | 2013-08-05 | 9.2358 | 23.5509 | 32.4561 | 8.8117 | 18.067 | week 11 | 19.1834 | 15 | 12.6175 | 10
week 12 | 8 | 20 | 12 | 152 | 30 | 2013-08-12 | 7.0903 | 16.0043 | 21.3249 | 43.8162 | 22.5066 | week 12 | 13.4255 | 15 | 31.4031 | 10
week 13 | 195 | 170 | 40 | 305 | 136 | 2013-08-19 | 7.9219 | 17.7962 | 17.5817 | 54.7639 | 22.3765 | week 13 | 13.5334 | 15 | 35.0061 | 10
week 14 | 3 | 3 | 12 | 150 | 95 | 2013-08-20 | 6.2267 | 12.8983 | 14.1933 | 78.3655 | 40.3221 | week 14 | 10.4462 | 15 | 56.2126 | 10
week 15 | 14 | 15 | 4 | 92 | 50 | 2013-08-27 | 19.2171 | 16.0679 | 18.7282 | 140.3099 | 63.9062 | week 15 | 17.9493 | 15 | 94.6925 | 10
week 16 | [6 empty] | 15.999 | 19.7776 | 12.3203 | 159.0397 | 66.3496 | week 16 | 15.7385 | 15 | 102.724 | 10
| NOTE: Geometric mean cannot be calculated using "0" so I'm using "0.05" instead | [5 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
COB website on beach testing: http://www.ci.burnsville.mn.us/index.aspx?nid=372
| E. coli testing results for 8/27/13 | [6 empty] | All samples below 1,260 organisms/100 ml: follow regular weekly testing schedule
One sample above 1,260 organisms/100 ml: perform additional weekly test(s)
|  | Crystal Lake swimming beach |  |  | Alimagnet dog park pond |  |  | Combined or individual geometric mean above 126 organisms/100 ml: perform additional weekly test(s)
|  | CL-1 | CL-2 | CL-3 | AL-1 | AL-2
| Single sample results (organisms/100 mL) | 14 | 15 | 4 | 92 | 50
| Geometric mean of last 5 samples | 19.2171 | 16.0679 | 18.7282 | 140.3099 | 63.9062
Table for website
|  | Sample 1 |  | Sample 2 |  | Sample 3
| DATE | Single sample | Geometric mean | Single sample | Geometric mean | Single sample | Geometric mean
Geometric mean is calculated from last five samples. Results are given in CFU/100 ml
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2012
2012 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (CFU/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 31 | 50 | 48 | 10 | 16 | 2012-05-29 | [5 empty] | week 1
week 2 | 5 | 2 | 10 | 35 | 20 | 2012-06-04 | 12.4499 | 10 | 21.9089 | 18.7083 | 17.8885 | week 2 | 13.9721 | 6 | 18.2938 | 4
week 3 | 6 | 8 | 18 | 82 | 70 | 2012-06-11 | 9.761 | 9.2832 | 20.5197 | 30.6169 | 28.1892 | week 3 | 12.2967 | 9 | 29.378 | 6
week 4 | 2000 | 1920 | 900 | 300 | 3200 | 2012-06-18 | 36.9299 | 35.2045 | 52.8067 | 54.169 | 92.0131 | week 4 | 40.947 | 12 | 70.5993 | 8
week 4b | 50 | 120 | 75 | ~ | ~ | 2012-06-20 | 39.2371 | 44.9898 | 56.6453 | 54.169 | 92.0131 | week 5 | 46.415 | 15 | 70.5993 | 10
week 5 | 14 | 8 | 1e-08 | 10 | 18 | 2012-06-25 | 33.4695 | 31.1845 | 0.65602 | 54.169 | 94.7627 | week 6 | 8.8139 | 15 | 71.6464 | 10
week 6*** | 17 | 18 | 11 | 2 | 1 | 2012-07-02 | 42.7509 | 48.3935 | 0.66864 | 26.4845 | 44.8105 | week 7 | 11.1423 | 15 | 34.4497 | 10
week 8 | 18 | 16 | 10 | 75 | 0.01 | 2012-07-09 | 53.2562 | 55.5895 | 0.59448 | 32.6141 | 8.3388 | week 8 | 12.0735 | 15 | 11.2643 | 10
week 9 | 80 | 150 | 90 | 30 | 70 | 2012-07-16 | 27.9758 | 33.385 | 0.37509 | 26.6727 | 8.3388 | week 9 | 7.0495 | 15 | 5.2384 | 10
week 10 | 20 | 25 | 25 | 20 | 35 | 2012-07-23 | 23.2913 | 24.3951 | 0.3011 | 15.5185 | 3.3798 | week 10 | 5.5514 | 15 | 7.2422 | 10
week 11 | 125 | 75 | 30 | 30 | 50 | 2012-07-30 | 36.087 | 38.1678 | 23.6668 | 19.3318 | 4.146 | week 11 | 31.9445 | 15 | 8.9526 | 10
week 12 | 76 | 20 | 15 | 40 | 80 | 2012-08-06 | 48.6881 | 38.9806 | 25.1813 | 35.1948 | 9.9597 | week 12 | 36.2897 | 15 | 18.7224 | 10
week 13 | 20 | 30 | 70 | 30 | 20 | 2012-08-13 | 49.725 | 44.2027 | 37.162 | 29.3016 | 45.5461 | week 13 | 43.3884 | 15 | 36.5318 | 10
week 14 | 15 | 15 | 15 | 20 | 50 | 2012-08-20 | 35.5775 | 27.89 | 25.9698 | 27.0192 | 42.582 | week 14 | 29.5368 | 15 | 33.9195 | 10
week 15 | 60 | 30 | 4 | 22 | 30 | 2012-08-27 | 44.3199 | 28.9258 | 18.0008 | 27.5392 | 41.2892 | week 15 | 28.4703 | 15 | 33.7205 | 10
week 16 | [6 empty] | 34.1996 | 22.7951 | 15.8429 | 26.9562 | 39.3598 | week 16 | 23.1153 | 15 | 32.5728 | 10
*** Tri-City closed, so Instrumental Research did analysis in Week 7, use MPN/100 mL instead of CFU | [6 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
Dog pond geometric week w/out secondary sampling
[9 empty] | week 8 | 32.6141 | 8.3388
[9 empty] | week 9 | 26.6727 | 8.3388
E. coli testing results for 7/16/12
|  | Crystal Lake swimming beach |  |  | Alimagnet Dog Park pond
|  | CL-1 | CL-2 | CL-3 | AL-1 | AL-2
| Single sample results (organisms/100 mL) | 80 | 150 | 90 | 30 | 70
| Geometric mean of last 5 samples | 27.9758 | 33.385 | 0.37509 | 26.6727 | 8.3388
Table for website
|  | Sample 1 |  | Sample 2 |  | Sample 3
| DATE | Single sample | Geometric mean | Single sample | Geometric mean | Single sample | Geometric mean
| 2012-05-29 | 31 | ----- | 50 | ----- | 48 | -----
| 2012-06-04 | 5 | ----- | 2 | ----- | 10 | -----
| 2012-06-11 | 6 | ----- | 8 | ----- | 18 | -----
| 2012-06-18 | 2000 | ----- | 1920 | ----- | 900 | -----
| 2012-06-20 | 50 | 39.2 | 120 | 45 | 120 | 56.6
| 2012-06-25 | 14 | 33.5 | 8 | 31.2 | 0 | 0.7
| 2012-07-02 | 17 | 42.8 | 18 | 48.4 | 11 | 0.7
| 2012-07-09 | 18 | 53.3 | 16 | 55.6 | 10 | 0.6
| 2012-07-16 | 80 | 28 | 150 | 33.4 | 90 | 0.4
| 2012-07-23 | 20 | 23.3 | 25 | 24.4 | 25 | 0.3
| 2012-07-30 | 125 | 36.1 | 75 | 38.2 | 30 | 23.7
| 2012-08-06 | 76 | 48.7 | 20 | 39 | 15 | 25.2
| 2012-08-13 | 20 | 49.7 | 30 | 44.2 | 70 | 37.2
| 2012-08-20 | 15 | 35.6 | 15 | 27.9 | 15 | 26
Geometric mean is calculated from last five samples. Results are given in CFU/100 ml
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2011
2011 Beach Testing: E. coli single sample results and Geometric Means
| SINGLE SAMPLE RESULTS (CFU/100 ml) | [5 empty] | GEOMETRIC MEAN* per sampled location (CFU/100 ml) | [5 empty] | GEOMETRIC MEANS* combined (CFU/100 ml)
| CL-1 | CL-2 | CL-3 | AL-1 | AL-2 | Date Sampled | CL-1 | CL-2 | CL-3 | AL-1 | AL-2 |  | CL-1, CL-2 & CL-3 combined* | Number of CL samples to calculate GM | AL-1 & AL-2 combined* | Number of AL samples used to calculate GM
week 1 | 10 | 6 | 12 | 96 | 60 | 2011-06-02 | [5 empty] | week 1
week 2 | 11 | 5 | 33 | 6 | 11 | 2011-06-07 | 10.4881 | 5.4772 | 19.8997 | 24 | 25.6905 | week 2 | 10.4561 | 6 | 24.8309 | 4
week 3 | 18 | 14 | 7 | 49 | 216 | 2011-06-14 | 12.5571 | 7.4889 | 14.0475 | 30.4467 | 52.2395 | week 3 | 10.9724 | 9 | 39.8813 | 6
week 4 | 390 | 510 | 665 | 1020 | 345 | 2011-06-21 | 29.6437 | 21.5132 | 36.8471 | 73.2495 | 83.7441 | week 4 | 28.6427 | 12 | 78.3212 | 8
week 5 | 10 | 5 | 20 | 210 | 95 | 2011-06-28 | 23.8532 | 16.0679 | 32.6084 | 90.4248 | 85.8832 | week 5 | 23.2066 | 15 | 88.1247 | 10
week 6 | 34 | 1 | 7 | 255 | 310 | 2011-07-05 | 30.4678 | 11.2287 | 29.276 | 109.9364 | 119.2752 | week 6 | 21.5556 | 15 | 114.5106 | 10
week 7 | 13 | 17 | 15 | 195 | 110 | 2011-07-12 | 31.503 | 14.3425 | 25.0051 | 220.5556 | 189.0385 | week 7 | 22.4389 | 15 | 204.1898 | 10
week 8 | 152 | 134 | 38 | 75 | 10 | 2011-07-18 | 48.2688 | 22.533 | 35.0724 | 240.1547 | 102.2491 | week 8 | 33.6628 | 15 | 156.7023 | 10
week 9 | 14 | 6 | 20 | 48 | 56 | 2011-07-25 | 24.813 | 9.2669 | 17.4023 | 130.3225 | 71.0777 | week 9 | 15.876 | 15 | 96.2446 | 10
week 10 | 30 | 42 | 34 | 140 | 160 | 2011-08-02 | 30.9103 | 14.1837 | 19.3507 | 120.1714 | 78.8883 | week 10 | 20.3953 | 15 | 97.3659 | 10
week 11 | 18 | 20 | 25 | 10 | 26 | 2011-08-08 | 27.2183 | 25.8224 | 24.9612 | 62.8772 | 48.0546 | week 11 | 25.9841 | 15 | 54.9685 | 10
week 12 | 40 | 37 | 56 | 262 | 340 | 2011-08-15 | 34.0789 | 30.1681 | 32.4851 | 66.7032 | 60.2216 | week 12 | 32.2037 | 15 | 63.3796 | 10
week 13 | 16 | 22 | 6 | 32 | 92 | 2011-08-22 | 21.724 | 21.0189 | 22.4573 | 56.2554 | 93.8663 | week 13 | 21.7255 | 15 | 72.6669 | 10
week 14 | 15 | 12 | 33 | 18 | 18 | 2011-08-29 | 22.0259 | 24.1444 | 24.823 | 46.2349 | 74.8043 | week 14 | 23.6339 | 15 | 58.8096 | 10
week 15 | [6 empty] | 20.3885 | 21.0237 | 22.9455 | 35.0494 | 61.8555 | week 15 | 21.4255 | 15 | 46.5618 | 10
week 16 | [6 empty] | 21.2532 | 21.3764 | 22.2989 | 53.2404 | 82.5746 | week 16 | 21.6379 | 15 | 66.3046 | 10
[7 empty] | * GM based on samples take within last 5 weeks (30 day span) | [5 empty] | * GM based on samples take within last 5 weeks (30 day span)
Table for website
|  | Sample 1 |  | Sample 2 |  | Sample 3
| DATE | Single sample | Geometric mean | Single sample | Geometric mean | Single sample | Geometric mean
| 2011-06-02 | 10 | ----- | 6 | ----- | 12 | -----
| 2011-06-07 | 11 | 10.4881 | 5 | 5.4772 | 33 | 19.8997
| 2011-06-14 | 18 | 12.5571 | 14 | 7.4889 | 7 | 14.0475
| 2011-06-21 | 390 | 29.6437 | 510 | 21.5132 | 665 | 36.8471
| 2011-06-28 | 10 | 23.8532 | 5 | 16.0679 | 20 | 32.6084
| 2011-07-05 | 34 | 30.4678 | 1 | 11.2287 | 7 | 29.276
| 2011-07-12 | 13 | 31.503 | 17 | 14.3425 | 15 | 25.0051
| 2011-07-18 | 152 | 48.2688 | 134 | 22.533 | 38 | 35.0724
| 2011-07-25 | 14 | 24.813 | 6 | 9.2669 | 20 | 17.4023
2011-08-02
2011-08-09
2011-08-16
2011-08-23
August 30, 2011
Results are given in CFU/100 ml
State of Minnesota criteria for E. coli in recreational waters (Minnesota Rule 7050.0222):
- The geometric mean of not less than five samples representative of conditions within any calendar month are not to exceed 126 organisms/100 ml
- Nor shall more than 10 percent of all samples taken during any calendar month individually exceed 1,260 organisms/100 ml
EPA Ambient Freshwater Quality Criteria for E. coli (40 CFR Part 13: Water Quality Standards for Coastal and Great Lakes Recreation Waters; Final Rule):
- The geometric mean (based on not less than 5 samples within 30 day period) shall not exceed 126/100 ml.
- The single sample maximum (SSM) for designated bathing beaches shall not exceed 235 CFU/100 ml in a single sample.

## 2010
CL-N | CL-M | CL-S | AL-N | AL-S | Date Sampled | CL-N | CL-M | CL-S | AL-N | AL-S
280 | 130 | 12 | 58 | 39 | 2010-06-02
3 | 11 | 17 | 20 | 34 | 2010-06-07 | 28.9828 | 37.8153 | 14.2829 | 34.0588 | 36.4143
10 | 68 | 27 | 56 | 80 | 2010-06-15 | 20.3279 | 45.9849 | 17.6603 | 40.199 | 47.3381
10 | 12 | 14 | 375 | 325 | 2010-06-21 | 17.0243 | 32.8667 | 16.664 | 70.2537 | 76.6265
176 | 135 | 165 | 680 | 144 | 2010-06-28 | 27.1618 | 43.5985 | 26.3585 | 110.6209 | 86.9312
64 | 140 | 220 | 800 | 425 | 2010-07-06 | 20.2191 | 44.2496 | 47.1595 | 186.969 | 140.1654
12 | 6 | 6 | 270 | 200 | 2010-07-12 | 26.6793 | 39.1977 | 38.2922 | 314.6563 | 199.7795
25 | 6 | 4 | 82 | 85 | 2010-07-19 | 32.0452 | 24.1207 | 26.1366 | 339.5952 | 202.2166
27 | 68 | 30 | 280 | 416 | 2010-07-26 | 39.0873 | 34.1236 | 30.4402 | 320.3221 | 212.451
12 | 14 | 9 | 224 | 140 | 2010-08-02 | 22.8438 | 21.6877 | 17.0137 | 256.528 | 211.2574
44 | 14 | 28 | 376 | 168 | 2010-08-09 | 21.1945 | 13.684 | 11.2654 | 220.574 | 175.4672
50 | 40 | 65 | 375 | 480 | 2010-08-16 | 28.1956 | 19.9984 | 18.1426 | 235.5525 | 209.0442
88 | 90 | 88 | 40 | 34 |  | 36.2652 | 34.3727 | 33.6654 | 204.0502 | 174.0404
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0

## 2008
Crystal 1 | Crystal 2 | Crystal 3 | LacLavon 1 | LacLavon 2 | Date Sampled | Crystal 1 | Crystal 2 | Crystal 3 | LacLavon 1 | LacLavon 2
1 | 1 | 1 | 2 | 1 | 2008-05-27
102 | 152 | 212 | 3 | 4 | 2008-06-02 | 10.0995 | 12.3288 | 14.5602 | 2.4495 | 2
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0

## 2007
Results | [5 empty] | Geometric Mean
Crystal 1 | Crystal 2 | Crystal 3 | LacLavon 1 | LacLavon 2 | Date Sampled | Crystal 1 | Crystal 2 | Crystal 3 | LacLavon 1 | LacLavon 2
2 | 1 | 6 | 24 | 6 | 2007-05-29
9 | 5 | 6 | 10 | 8 | 2007-06-04 | 4.2426 | 2.2361 | 6 | 15.4919 | 6.9282
1 | 9 | 5 | 8 | 1 | 2007-06-11 | 2.6207 | 3.5569 | 5.6462 | 12.4289 | 3.6342
5 | 6 | 2 | 5 | 4 | 2007-06-18 | 3.0801 | 4.0536 | 4.3559 | 9.8985 | 3.7224
8 | 14 | 12 | 4 | 11 | 2007-06-25 | 3.7279 | 5.194 | 5.3345 | 8.2578 | 4.6232
5 | 7 | 17 | 1 | 1 | 2007-07-02 | 4.4777 | 7.6651 | 6.5699 | 4.3734 | 3.2308
12 | 14 | 15 | 49 | 37 | 2007-07-09 | 4.7429 | 9.4178 | 7.8912 | 6.0098 | 4.3886
2 | 11 | 4 | 10 | 10 | 2007-07-17 | 5.4481 | 9.8035 | 7.5468 | 6.2841 | 6.9555
4 | 10 | 8 | 19 | 18 | 2007-07-23 | 5.2103 | 10.858 | 9.958 | 8.2073 | 9.3967
10 | 4 | 9 | 18 | 19 | 2007-07-30 | 5.4481 | 8.4515 | 9.4013 | 11.0878 | 10.482
23 | 13 | 17 | 8 | 6 | 2007-08-06 | 7.3926 | 9.5654 | 9.4013 | 16.8059 | 14.9995
6 | 7 | 15 | 17 | 19 | 2007-08-13 | 6.4357 | 8.3272 | 9.4013 | 13.5992 | 13.1276
129 | 51 | 46 | 64 | 51 | 2007-08-21 | 14.8083 | 11.3171 | 15.3224 | 19.7128 | 18.1845
40 | 18 | 74 | 43 | 64 | 2007-08-27 | 23.4696 | 12.7288 | 23.9086 | 23.2109 | 23.4359

## 2006
5 sample geometric mean
Crystal 1 | Crystal 2 | Crystal 3 | LacLavon 1 | LacLavon 2 | Date Sampled
3 | 3 | 4 | 11 | 23 | 2006-08-08
26 | 13 | 21 | 9 | 5 | 2006-08-15
1 | 5 | 2 | 6 | 6 | 2006-08-22
53 | 127 | 110 | 7 | 13 | 2006-08-30
3 | 4 | 5 | 53 | 13 | 2006-08-01
6.5872 | 9.9811 | 9.8432 | 11.712 | 10.3121
EPA's standards:
A geometric mean of 126 organisms/100mL
A single sample of 235 organisms/100mL